Product description

Digital Orbital Shaker, 40-200RPM Adjustable Speed, LED Digital Display Speed and time, Orbital Rotator Shaker with Continuous Mode or Timer Mode, Suitable for Labs and Classrooms

Specitication:
Flat tray: 268*268mm
Maximum load: 2kg
Track diameter: 20mm
Speed range: 40-200rpm
Timing range: 1 min-19h 59min
Motor Type: DC Motor
Protection class: IP21
Ambient temperature/humidity: 5~40°C/80%RH
Voltage: AC100-240V 50/60Hz
Product Size:294*348*123mm
Product weight: 3.1kg

SK-O180-S